Federal Service for Surveillance on Consumer Rights Protection and Human Wellbeing

Federal Budget Healthcare Institution Hygiene and Epidemiology Centre in the Republic of Karelia

ACCREDITED TEST LABORATORY

| Legal address: | Accreditation certificate No. |
| --- | --- |
| 185002, Petrozavodsk, Pirogova str., 12 | RA.RIJ.2I АЖ38 Date of making |
| Telephone, fax: (8142) 75-03-99 | an entry into the register |
| OKPO 75736799. OGRN INN/KPP | of accredited parties: |
| 100104893 8/100101001 | 25.01.2016 |

PROTOCOL OF LABORATORY STUDIES (TESTS)

No. 2195/С dd. 25.09.2019

Name of the test sample:

Water from non-public water supply sources

Test samples were sent to:

Togur LLC, Petrozavodsk, Pervomaiskiy pr., 9

Sampling date and time: 10.09.2019 16:00

Sample delivery date and time: 11.09.2019 11:30

Employee who took a sample: Customer

Purpose of sampling: Another analysis under contracts

Legal entity, self-employed entrepreneur or individual, from which the sample was taken:

Togur LLC, Petrozavodsk, Pervomaiskiy pr., 9

Facility where sample was taken:

Well IV-I, vil. Ryaimyalya

Sample code: 1.1.19-219.5-. 1.1. С

Codes and standards for sampling procedure:

GOST 31861-2012 Water. General requirements for sampling

Regulatory document:

GN 2.1.5.1315-03 Maximum allowable concentrations (MAC) of chemicals in water in municipal and amenity water use water bodies

Sampling certificate:	No. 2195 dd. 11.09.2019

Person in charge of protocol execution:

|  |  |  | Medical Laboratory Assistant Yelena Anatolyevna Terukova |
| --- | --- | --- | --- |
|  | (Deputy) Head of Test Laboratory: |  |  |
|  | /signature/ |  |  |
|  |  |  | Deputy Chief Doctor Anastasiya Alekseyevna Isayeva |

- Test results shall be applicable to the sample submitted.

- The document shall not be reproduced (copied or reprinted), either in part or in whole, without approval of the accredited test laboratory.

- If the customer takes a sample, results shall be applicable to the sample submitted by the customer. Test laboratory shall not be responsible for correctness of sampling and sample delivery as well as for data specified in Sampling certificate.

ACCREDITED TEST LABORATORY

Federal Budget Healthcare Institution Hygiene and Epidemiology Centre in the Republic of Karelia

to Protocol No. 2195 / С dd. 25.09.2019

|  |  |  | Sample code: |  | 1.1.19-2195-. 1.1. С |
| --- | --- | --- | --- | --- | --- |
| Public health laboratory |  |  |  |  |  |
| Sample delivery date: 11.09.2019 Test start date: 11.09.2019 Test end date: 25.09.2019 |  |  |  |  |  |
| Item No. | Identifiable parameter | Test results | Permissible value | Units | Codes and standards for methods |
| 1 | Iodine | 1.1 ± 0.3 | 0.125 | mg/l | MUK 4.1.2223 |
| Measuring equipment, state verification data |  |  |  |  |  |
| Item No. | Sampler name, type | Error | Serial number | State verification data | Valid till |
| 1 | Spectrophotometer UV mini - 1240 | 1 % | А10934735396 CS | Certificate No. 120134 | 11.11.2019 |
| Full name of Head of Laboratory Svetlana Stepanovna Voronova |  |  |  | Signature |  |

- Test results shall be applicable to the sample submitted

- The document shall not be reproduced (copied or reprinted), either in part or in whole, without approval of the accredited test laboratory

- If the customer takes a sample results shall be applicable to the sample submitted by the customer. Test laboratory shall not be responsible for correctness of sampling and sample delivery as well as for data specified in Sampling Certificate

| MSU LABORATORY | MSULAB ANALYTICS AND SUPPORT | Tel.: Fax: Email: Website: | +7 (495) 120-67-97 +7 (495) 939-42-72 info@msulab.ru https://www.msulab.ru |  |
| --- | --- | --- | --- | --- |
|  |  | Address: | 119234, Moscow, Leninskiye gory str., 1s28 |  |

MEASUREMENT RESULTS

No. 23112-05-19 dd. 17.05.2019

| Customer | Togur LLC | /Stamp: FEDERAL STATE BUDGET EDUCATIONAL INSTITUTION OF HIGHER EDUCATION * M.V. LOMONOSOV MOSCOW STATE UNIVERSITY * MSU LABORATORY * MOSCOW/ |
| --- | --- | --- |
| Sampling site: | Republic of Karelia, Pitkyarantskiy district, vil. Ryaimyalya |  |
| Sample name | well IV-1 |  |
| Sample number | 23112 |  |
| Delivery date | 15.05.2019 | /signature/ |
| Head of MSU Laboratory | I.A. Dyachkov | signature |

| Identifiable parameter | Measurement result | Standard value* | Units of measurement | Codes and standard for procedure |
| --- | --- | --- | --- | --- |
| Organoleptic parameters |  |  |  |  |
| Turbidity | <1.0 | 2.6 | FMU | GOST R 57164-2016 (at 530 nm) |
| Color value | 4.10 | 20 | degree | GOST 31868-2012 (Method B) |
| Scent | 0 | 2 | point | GOST R 57164-2016 |
| Cations |  |  |  |  |
| Magnesium | 23.5 | - | mg/l | TsV 3.18.05-2005 |
| Calcium | 59.4 | - | mg/l | TsV 3.18.05-2005 |
| Manganese | 0.104 | 0.1 | mg/l | TsV 3.18.05-2005 |
| Iron | 0.085 | 0.3 | mg/l | TsV 3.18.05-2005 |
| Potassium | 12.4 | - | mg/l | TsV 3.18.05-2005 |
| Sodium | 755 | 200 | mg/l | TsV 3.18.05-2005 |
| Aluminum | <0.005 | 0.5 | mg/l | TsV 3.18.05-2005 |
| Ammonium ions | 0.380 | 2 | mg/l | PND F 14.1:2:4.276-2013 (issued in 2013) |
| Lithium | 0.166 | 0.03 | mg/l | TsV 3.18.05-2005 |

Heavy metals and metalloids

| Mercury | < 0.00001 | 0.0005 | mg/l | RD 52.24.479-2008 |
| --- | --- | --- | --- | --- |
| Vanadium | < 0.0001 | 0.1 | mg/l | TsV 3.18.05-2005 |
| Barium | 0.820 | 0.1 | mg/l | TsV 3.18.05-2005 |
| Beryllium | < 0.0001 | 0.0002 | mg/l | TsV 3.18.05-2005 |
| Boron | 0.603 | 0.5 | mg/l | GOST 31949-2012 |

MEASUREMENT RESULTS

No. 23112-05-19 dd. 17.05.2019

| Identifiable parameter | Measurement result | Standard value* | Units of measurement | Codes and standard for procedure |
| --- | --- | --- | --- | --- |
| Molybdenum | <0.0001 | 0.25 | mg/l | TsV 3.18.05-2005 |
| Cobalt | <0.0001 | 0.1 | mg/l | TsV 3.18.05-2005 |
| Silver | <0.0001 | 0.05 | mg/l | TsV 3.18.05-2005 |
| Zinc | 0.003 | 5 | mg/l | TsV 3.18.05-2005 |
| Nickel | <0.0001 | 0.1 | mg/l | TsV 3.18.05-2005 |
| Silicon | 2.69 | 10 | mg/l | PND F 14.1:2:4.215-06 (issued in 2011) |
| Chromium | <0.0001 | - | mg/l | TsV 3.18.05-2005 |
| Strontium | 1.12 | 7 | mg/l | TsV 3.18.05-2005 |
| Cadmium | <0.0001 | 0.001 | mg/l | TsV 3.18.05-2005 |
| Arsenic | <0.0001 | 0.05 | mg/l | TsV 3.18.05-2005 |
| Copper | <0.001 | 1 | mg/l | TsV 3.18.05-2005 |
| Lead | <0.0001 | 0.03 | mg/l | TsV 3.18.05-2005 |
| Anions |  |  |  |  |
| Sulfate-ion | 6.47 | 500 | mg/l | PND F 14.1:2:4.132-98 (issued in 2008) |
| Chloride-ion | >1000 | 350 | mg/l | PND F 14.1:2:4.132-98 (issued in 2008) |
| Nitrate-ion | <0.1 | 45 | mg/l | PND F 14.1:2:4.132-98 (issued in 2008) |
| Hydrocarbonate-ion | 207 | - | mg/l | GOST 31957-2012 (Method A.2. Technology 1) |
| Carbonate-ion | <6.0 | - | mg/l | GOST 31957-2012 (Method A.2. Technology 1) |
| Nitrite-ion | <0.1 | 3 | mg/l | PND F 14.1:2:4.132-98 (issued in 2008) |
| Phosphate-ion | <0.1 | 3.5 | mg/l | PND F 14.1:2:4.132-98 (issued in 2008) |
| Fluoride-ion | 1.58 | 1.5 | mg/l | PND F 14.1:2:4.132-98 (issued in 2008) |

Composite parameters

| pH | 7.48 | 6.0-9.0 | pH units | RD 52.24.495-2017 |
| --- | --- | --- | --- | --- |
| Hardness | 4.90 | 7 | mg-eq/l | RD 52.24.395-2017 |
| Oxygen required | 3.39 | 5 | mg/l | PND F 14.1:2:4.154-99 (issued in 2012) |
| Oil products | <0.02 | 0.1 | mg/l | PND F 14.1:2:4.168-2000 (issued in 2017) |

MEASUREMENT RESULTS

No. 23112-05-19 dd. 17.05.2019

| Identifiable parameter | Measurement result | Standard value* | Units of measurement | Codes and standard for procedure |
| --- | --- | --- | --- | --- |
| Hydrogen sulfide | <0.002 | 0.003 | mg/l | PND F 14.1:2:4.178-02 (issued in 2010) |
| Free alkalinity | <0.1 | - | mmol/l | GOS 31957-2012 (Method А.2) |
| Total alkalinity | 3.39 | - | mmol/l | GOST 31957-2012 (Method A.2. Technology 1) |
| Sulfides | <0.002 | - | mg/l | PND F 14.1:2.109-97 |
| Dry residue | 2335 | 1000 | mg/l | PND F 14.1:2:4.261-2010 (issued in 2015) |
| Conductivity | 3910 | - | μSm/cm | RD 52.24.495-2005 |

* Health and hygiene rules and standards SanPiN 2.1.4.1074-01 Potable water. Hygienic requirements to quality of water from non-public water supply systems. Quality control. Hygienic requirements to hot water supply system safety